體外生命(心肺)支持裝置-Extracorporeal life support (ECLS)
### 詹 聖 霖
ECLS包括cardiopulmonary bypass (CPB), extracorporeal membrane oxygenation (ECMO), cardiopulmonary support (CPS) or extracorporeal cardiopulmonary resuscitation (ECPR), ventricular assist devices (VAD)
Indication:
_____ 1.High mortality risk disease but most likely reversible
_____ 2.Failure to respond to maximal conventional medical treatment
Acceptable criteria for ECLS
_____ Pulmonary support:
  1. ____ Inadequate oxygenation (respiratory failure): MAS, RDS, CDH, PPHN, ARDS --
PaO2/FiO2<100-150 or AaDO2>450-500mmHg or SatO2<85%, PaO2<60mmHg and
____ Higher ventilator support needed
PEEP > 8 cm H2O x 12 hrs (10cm x 4 hrs)
FiO2 > 0.8 x 12 hrs (0.9 x 4 hrs)
PIP > 40cm H2O or MAP > 30cmH2O
HFOV
  1. ____ Respiratory acidosis (PH < 7.2) under higher ventilator support
  2. ____ Air leak syndrome or severe barotraumas
  3. ____ Refractory septic shock
_____ Cardiac support:
  1. ____ Failure to wean from cardiopulmonary bypass after cardiac surgery
  2. ____ Progressive and unremitting low cardiac output state following:
cardiac surgery or myocarditis or cardiomyopathy or septic shock
* low CO = mixed venous saturation < 50%, cardiac index < 2 l/m2/min on
        full pharmacological and mechanical support > 2 hrs
  - ____ Prepare for bridge to heart transplantation, heart surgery or VAD.

ECLS is not recommended:
- ____Major chromosomal anomalies
- ____ Major cardiac or CNS malformations or recent CVA
- ____ Previous chronic lung disease
- ____ Major hemorrhage
- ____ Immunosuppression
- ____ Low certainty of quality of life
- ____ Duration of ventilator support (i.e. FiO2 >0.6 and/or PEEP >5): < 2 years >10 days; 2 - 8 years > 8 days, > 8 years > 6 days (tends to progressive pulmonary fibrosis)

Major equipment:

1. Pump: centrifugal vs roller-head pump
Rotation rate: 1200 to 2000 rpm to keep rated flow (CI about 2 L/min/m2)
2. Oxygenator: Hollow fiber oxygenator + heat exchanger+O2 blend+sweep gas flow
3. Heat exchanger: post-oxygenator position to main normothermia (setting < 42℃)
4. Cannula:
      Pediatric ECLS cannulae and flows
BW	<8Kg	8-12Kg	12-20Kg	20-35Kg	>35Kg
Venous (Fr)	12-16	16-20	20-24	21-24	>28
Arterial (Fr)	10-12	12-16	14-18	16-20	>20
Rated Flow (l/min)	1.2	1.8	1.8-4.5	4-5.5	5-6.5
Gas flow (l/min)	2.4	4.5	7.5	10.5	13.5
Idle flow (ml/min)	150	300	500	500-900	500-900

5. Bladder box: need or not
6. Bridge: come off ECLS: ABV on centrifugal and VBA on roller pump
7. Monitors: ACT, ABG, Saturation (SaO2,SvO2), CBC (Hct), Pressure monitor, Echo etc
Heater monitor, Flow monitor and detector
8. Ports:
  proximal to bladder: blood sampling, IV fluid infusion, hemofilter
  between pump head and oxygenator: ACT monitor, hemofilter
  after oxygenator: pressure monitoring, blood sampling, infusion of platelet
9. Mechanical ventilator: rest setting
  FiO2: < 0.6 (0.25~0.4) ; Rate: 6-20 (5-10) ; PIP: 25-35 (20~30) ; PEEP: 8-12 (4-10), Ti: 1sec
Medications:
1.Heparinization: loading 50-100u/kg; maintenance 5-40u/kg/hr to keep ACT around 200 sec
2.Sedation: midazolam 0.2-0.5 mg/kg/hr ; fentanyl 3-7 mg/kg/hr
3.Broad spectrum antibiotics: to treat existing infections (or to prevent infections)
4.Inotropes: Dopamine, Dobutamine, Primacor, or Epinephrine ect. prn use
5.Fluid: keep I/O balance or negative balance (3/4 to 2/3 maintenance)
6.TPN: higher K, Ca and lower Na supplement ; D10-25W ; protein 2-2.5 g/kg ; lipid 2-3 g/kg/d
7.Routinely consult: respiratory care/infectous disease staff, nephrologist, neurologist etc.
8.Consider IVIG (1 g/kg iv 8 hr) in EV crisis or carditis
9.Consider beta-blocker: propranolol 1-3 mg/kg/day tid in EV crisis and consider esomolol
10.Consider blood exchange transfusion: 2 x blood volume (140-160ml/kg)
11.Check bleeding by surgical intervention: bleeding > half blood volume/day
12.Avoid bleeding: no IM injection, no percutaneous sampling, no new iv setting, iv or urethral catheter left in place.
13.Be careful: avoid blood clot when FFP or WB infusion !!

Monitors and Laboratory f/u:
1. Vital signs, U/O Q1h and keep BT about 36.5 ~ 37℃
2. Check CBC, Electrolytes (Free Ca, Mg, Phosphorus etc.), Sugar, Urine OB: Q4h ~ Qd prn
3. Check GOT, GPT, albumin, bilirubin, BUN, Cr, CK, CK-MB, fibrinogen, FDP: Qd – Biw prn
4. Continuous pressure monitoring: CVP, PAP, LAP or PWP, BP and ECLS pressure Q1h
   venous inlet pressure: CVP (before pump pressure)
   before oxygenator pressure:↑pressure (> 300 mmHg) or↑before-after pressure gap
indicate oxygenator malfunction (failure or thrombosis)
after oxygenator pressure: arterial occlusion (tubing kinking)
5. Continuous in-line gas monitoring: SVO2 (Q1h check mixed venous gas in our hospital)
SVO2 indicate oxygen delivery vs PaO2 indicate oxygenator function
6. Pulse oximeter: SaO2 Q1h
7. ACT monitor: Q1h ~ Q6h
8. CxR, Body weight: Qd
9. Septic work up if needed
10. Echo: heart: Q12h – Qd prn and must rule out cardiac tamponade
        brain: Qdprn and must rule out ICH

Pediatric ECLS parameters and adjustments
Parameter	Desired	Adjustments
Hct / Hb	> 40% (12)	Infusion of packed RBC s/p photo
Plt count	> 100k	Infusion of platelets s/p photo
Blood sugar	90 - 100	Infusion of D10-50W
ACT	150 -250 sec	Heparin 5-20 u/kg ; FFP or cryoprecipitation*
Fibrinogen	> 150	FFP or cryo (if < 100)
SvO2	70 - 80%	ECLS flow, Sweep FiO2
SaO2	> 90%	ECLS flow, Sweep FiO2
PCO2	35-45 mmHg	Sweep gas flow
PaO2	> 65 mmHg	ECLS flow, Sweep FiO2

Pressure monitor, circuit flow and clinical diagnosis:
Flow	CVP	LAP	BP	Clinical diagnosis
				ECLS overflow or blood/fluid overload,RAA
				Hypovolemia and/or bleeding
				Pulmonary hypertension, cardiac tamponade, / ECLS malfunction, or  intrathoracic pressure
				Sepsis, aortic regurgitation
				Rv failure

Weaning (trial off ECLS):
_____ CxR improved; PaO2, VO2, PaCO2,Peak airway pressure,Compliance
_____ LV/RV function improved,Pulse pressure,VO2
1. ____ ECLS FiO2: to less 0.4
2. ____ Decrease ECLS flow (10-20ml/min decrements): to idle flow (or 25% of initial flow)
3. ____ Moderate or low mechanical ventilator and consider HFOV
4. ____ Come off ECLS: ABV on centrifugal and VBA on roller pump and decannulation
Complications and check list:
____ Bleeding: surgical site (27%), GI (6%), intracranial (5%)
____ Infection: 20-30% and consider fungal infection (50%)
____ Pneumothorax, hemothorax, cardiac tamponade
____ Mechanical complications
     ____ cannula malposition, kinking or tubing rupture
     ____ clot or air in circuit
     ____ oxygenator failure
     ____ pump malfunction
     ____ heat exchanger malfunction
____ Renal failure: consider hemofiltration and increase pump flow
____ CNS sequela: _____________________________________